## Slide 1: Non-Invasive point of care ECG signal detection and analytics for cardiac diseases
Bachelor Thesis project
Mentors
Prof. Dipankar Bandyopadhyay
Ass. Prof. Resmi Suresh
Sahil Jagnani
Presented by
Shubham Kumar Gupta (180107058)

## Slide 2: Content
Recap
Final Setup
Micro Electrode
How I will collect data?
Timeline
References
bit.ly/btp2Aug
bit.ly/btp21Aug
Prev ppt: bit.ly/btp11Sept

## Slide 3: Content
Recap
Case Study
  Apple’s ECG Watch Single Lead
  Kardia 6L
  Sanket’s 12Lead
Constraints
Hardware Analysis
  Heart Beat Sensor Working
  Oximeter Sensor (BPM & SpO2 Level)
    Sensor MAX30100
  Grove Finger-Clip Heart Rate Sensor
Working Principle
Source of Noise
Block Diagram
  Hardware Setup1( Single Lead, Low Accuracy, Alert only risk)
    Circuit Diagram
    Cost Estimation
  Hardware Setup2(12 Lead, High Accuracy, electrode straps, Easy)
    Circuit Diagram
    Cost Estimation
Process Flow
Data Collection
  Types of data collected
Resources
Timeline
bit.ly/btp2Aug
Prev ppt: bit.ly/btp21Aug

## Slide 4: DISCLAIMER
  I have no intention to harm any products related to Apple or any company!
  No userbase is targeted or tried to offended using this!
  I am studying them just for research and educational purposes.

## Slide 5: Recap
  Important Diagnostic Tool
    The electrocardiogram (ECG or EKG ), is measure of electrical activity associated with heart function.
    Graph of an ECG signal can indicate abnormalities in a patient’s cardiac health.
    ECG voltage levels monitored at the skin’s surface are less than 5mV in amplitude.
    ECG is printed on a rectangular paper
  Heart Anatomy and functioning
    It has 4 chambers and 4 valves
    Pumps impure blood from body to lungs and then lungs to body
    Electric pulses on heart is due to varying electrolyte concentrations creating dipole moment and generating curve showing gradient
    SA node -> Atria muscle fibers -> AV Nodes -> His Bundles -> Purkinje fibers->spreading to ventricular myocardium
  ECG Interpretation
    Its made up of P wave, QRS complex, and T wave
    Abnormalities can generate J, U, F waves
    ECG has total of 12 Leads (6-Chest Leads, 6-Limb Leads)
    Total of 10 electrodes (1 ground) is placed over body
    Fluctuations in ECG
  Instrumentation Setup
    How to take ECG
    Biosensors
  Limitations
  Economics

## Slide 6: Case Study: Apple’s ECG Watch/Kardia Band
  Purchased & Transformed : AliveCor Band (Kardia is a product of AliveCor)
  ECG any time (30 seconds wait time)
  Results on ECG app
  Types of ECG (SINGLE LEAD CANNOT DETECT ANYTHING ELSE?)
    Sinus rhythm (uniform 50-100 BPM) 1
    Atrial fibrillation (APPLE needed 2 versions to do this !)
      Version 1: can track AF till 50-120 BPM1
      Version 2: can track AF till 50-150 BPM2
    Low or high heart rate
      Version 1: can track HB <50 or >120 BPM1
      Version 2: can track HB <50 or >150 BPM2
    Inconclusive
      Heart Rate is from 100-120 BPM but not Atrial Fibrillation1
      Recording cannot be classified 1
      Wearing Pacemaker? 1
    Poor Recording1
Showing working of apple series 4 watch
Source:apple.com
Alivecor Band watch
Source: alivecor.com

## Slide 7: Case Study: Apple’s ECG Watch
  Rest your arms on a table or in your lap while you take a recording. Try to relax and not move too much.
  Make sure that your Apple Watch isn’t loose on your wrist. The band should be snug, and the back of your Apple Watch needs to be touching your wrist.
  Clean & Dry
  Move away from any electronics that are plugged into an outlet to avoid electrical interference.
  Liquid-free contact is required for the ECG app to work properly
  THINGS TO CONSIDER!!
  The ECG app cannot detect a heart attack. If you ever experience chest pain, pressure, tightness, or what you think is a heart attack, call emergency services immediately.
  The ECG app cannot detect blood clots or a stroke.
  The ECG app cannot detect other heart-related conditions. These include high blood pressure, congestive heart failure, high cholesterol, or other forms of arrhythmia.
Showing working of apple series 4 watch
Source:apple.com

## Slide 8: Case Study: Apple’s ECG Watch
  Workings
    Generates a single-lead (or Lead I) ECG.
    A single-lead ECG is able to provide information about heart rate and heart rhythm and enables classification of AFib.
    single-lead ECG cannot be used to identify conditions like heart attacks.
  ECG app to accurately classify an ECG recording into AFib (98.3% accuracy) and sinus rhythm (99.6% accuracy).
  Kardia Workings
    It has two electrodes on the top for your fingers, and one on the bottom to contact the skin of your left leg.
    So one have to touch it with two thumbs and touch the bottom via left leg
    It generates 6Leads
    It delivers EKG leads I, II, III, aVL, aVR, and aVF.
  Sanket’s 12 Lead ECG
    Can generates 12lead Ecg
    Complicated & may not be possible easily to do ECG (anywhere)
    Slight misplacement can cause errors
Showing working of apple series 4, Kardia 6L, Sanket’s 12L watch
Source:apple.com

## Slide 9: Constraints (WATCH)
  From Two thumbs you can get Lead I
  From Two thumbs + Left Leg (or lower left abdomen ) we can get II,III and aVF,aVR,aVL
  From Touching points at Chest we can get rest Leads
  TARGET
    WATCH (ECG + Heart-Beat)
      CHEST LEADS ❌
      LEADS I ✔️
      LEADS II, III (May be if touched leg) 💡 (If then can have aVL, aVF, aVR)
  Different Leads shows
    II, III, and aVF: inferior surface of the heart
    V1 to V4: anterior surface
    I, aVL, V5, and V6: lateral surface
    V1 and aVR: right atrium and cavity of left ventricle
  Without touching different body parts (like leg/chest) we cannot have any leads other than Lead I
  Continuous ECG cannot be done as one have to keep circuit completed everytime so one need to touch both hands
Body Surface Potential Mapping
Source: Clinical Arrhythmology and Electrophysiology (Third Edition), 2019

## Slide 10: Constraints (WATCH)
  TARGET
    Get leads I, interpret ECG
  Normal Sinus Rhythm ✔️
    The P wave is upright in leads I and II
    Each P wave is usually followed by a QRS complex
    The heart rate is 60-99 BPM
  Atrial Fibrillation ✔️
    Lead I, Narrow QRS Complex, Irregular RR interval
    f (fibrillatory) waves
    No distinct P waves
  Atrial Flutter ✔️
    Lead I, Narrow QRS Complex, Regular RR interval
    f (fibrillatory) waves
    No distinct P waves
  Low/High Heart Rates ✔️
    From ECG RR intervals heart rate can be calculated
Atrial Fibrillation
Normal Sinus Rhythm
Atrial Flutter
Source:Sinus Rhythm
nottingham.ac.uk

## Slide 11: Constraints (WATCH)
Sinus Bradycardia ✔️
  Rate < 60 BPM
  Regular intervals
  P wave present normal
  PR interval & QRS width normal
Sinus Tachycardia ✔️
  Rate > 100 BPM
  Regular intervals
  P wave present normal
  PR interval & QRS width normal
Cardiac Axis (💡 MAYBE)
Normal Axis Deviation
Lead II has most +ve deflection compared to leads I and III.
Left Axis Deviation ( -30° to -90°)
Lead I has most +ve deflection.
Leads II and III are –ve .
Right Axis Deviation
Lead III has most +ve deflection and lead I should be –ve.
Leads | Normal Axis | Right Axis Deviation | Left Axis Deviation
Lead I | +ve | -ve | +ve
Lead II | +ve | +ve/-ve | -ve
Lead III | +ve/-ve | +ve | -ve
Sinus Bradycardia
Sinus Tachycardia
Source:Sinus Rhythm
nottingham.ac.uk

## Slide 12: Constraints (WATCH)
Glossary:
APC: Atrial Premature Contractions
VPC: Ventricular Premature Contractions
BBB: Bundle Branch block
Ectopic: something that is in an odd place or position.
If we have 12 Leads of ECG we can detect all of them
If we have single lead we can detect only pace and some irregularities like arrythmia
Various rhythms possible
Source: Simplified Pediatric Electrocardiogram Interpretation April 2010 Clinical Pediatrics

## Slide 13: Constraints (WATCH)
Various rhythms possible
Source: Simplified Pediatric Electrocardiogram Interpretation April 2010 Clinical Pediatrics

## Slide 14: Working Principle: Heart Beat Sensor
A basic heart sensor works on the principle of photoplethysmography.
Plethysmography is a measurement technique that can be used to measure the volume changes in different parts of the body.
A plethysmograph is an instrument for measuring changes in volume within an organ or whole body
Two modes :
  Transmissive mode - fingers / toes / earlobe
  Reflective - forehead / cheek
The shorter wavelengths of light are strongly absorbed by melanin, Red and near-IR light passes easily.
Eg: Oximeter Sensor
Source: Biomedical Signal Processing and Control, BIOMED Jouranl Elsevier

## Slide 15: Heart Rate Sensor
    Sensor MAX30100: Oximeter Sensor ❌
      It’s an integrated pulse oximetry and heart-rate monitor sensor solution.
      It works on the principle of photoplethysmography.
      It combines two LEDs, a photodetector, optimized optics, and low-noise analog signal processing to detect pulse oximetry and heart-rate signals.
      But we shouldn’t use this as the sensor height is lower than other components of the circuit.
    Grove Finger-Clip Heart Rate Sensor ✔️
      Base has the sensor same as Oximeter sensor and no other components on its base
      So can be used easily assuming no size constraints initially
    NeuroSky CardioChip
      They only share data with large commercials
      Very small
      No data publicly available
Sensor MAX30100
Glove Finger-Clip Heart Rate Sensor

## Slide 16: Working Principle
ECG is a technique for gathering electrical signals which are generated from the human heart.
When someone experiences physiological arousal then the ECG sensor allows to recognize level.
No electricity is sent into the body.
Stimulation of a muscle alters the electrical potential of the muscle fibres. (Cardiac cells), have property automaticity, which has capacity to spontaneously initiate impulses. These are then transmitted from cell to cell by gap junctions that connect cardiac cells to each other.
The electrical impulses spread through the muscle cells because of changes in ions.
Depolarisation and Repolarisation waves represent an electrical current and can be detected by placing electrodes on the surface of the body.
After the current has spread from the heart through the body, the changes are picked up by the ECG machine and the activity is recorded. The current is transmitted across the ECG machine at the selected points of contact of the electrode with the body
ECG records these impulses to show how fast the heart is beating, the rhythm of the heart beats (steady or irregular), and the strength and timing of the electrical impulses as they move through the different parts of the heart. Changes in an ECG can be a sign of many heart-related conditions.

## Slide 17: Working Principle
Φ is potentials at different regions
Lead I: 𝑉I = ΦL − ΦR
Lead II: 𝑉II = Φ𝐹 − ΦR
Lead III: 𝑉III = Φ𝐹 − Φ𝐿
On completing the circuit by touching Left and Right thumbs or arms we can get Lead I.
𝑎𝑉F = Φ𝐹 − (Φ𝐿 + Φ𝑅)/2
𝑎𝑉L = ΦL − (ΦF + Φ𝑅)/2
𝑎𝑉R = ΦR − (ΦF + ΦL)/2
Cardiac Axis = ± tan−1 (𝑎𝑉𝐹/VI )
When circuit completes by touching any two points then we can get potential difference between any two points defining it to give Lead I, II, III, etc
Body Surface Potential Mapping
Source: Clinical Arrhythmology and Electrophysiology (Third Edition), 2019

## Slide 18: Work Principle
Output Analog Voltage ECG signals may vary from person to person.
The front end of an ECG must be able to deal with extremely weak signals ranging from 0.5 mV to 5.0 mV
DC component of up to ±300 mV, resulting from the electrode-skin contact
And a common-mode component of up to 1.5 V, resulting from the potential between the electrodes and ground.
Useful bandwidth of an ECG signal depends on the application
  range from 0.5 Hz to 50 Hz—for a monitoring application in intensive care units
  Uto 1 kHz for late-potential measurements (pacemaker detection).
A standard clinical ECG application has a bandwidth of 0.05 Hz to 100 Hz.
ECG Range
Source:elentra.healthsci.queensu.ca

## Slide 19: Sources of Noise
Source of Noise
  Baseline wander caused by patient respiration (low frequency AC signal noise)
  Power line interference ( 50-60Hz noise from power lines)
  Muscle noise (This noise is very difficult to remove as it is in the same region as the actual signal. It is usually corrected in software.)
  Other interference (i.e., radio frequency noise from other equipment)
Removal of Common Mode Noise
  Use instrumentation amplifiers with very high common mode rejection ratios on the order of 100dB
  Drive the patient body with an inverted common mode signal.
  Apply software algorithms after acquisition for the removal of noise
ECG Noise
Source:elentra.healthsci.queensu.ca

## Slide 20: Block Diagram
Figure shows the block diagram that can be implemented on a circuit box as watch.
It should contain total of three units:
  Battery Unit (Power Source)
  Sensing Unit
  Wireless Communication Unit
Sensing Unit
  should capture leads
  Monitor heart rate
  Process them like passing wave via various electrical circuits like amplifier or band pass filters, and denoising the final output signal
  Then Analog signals are converted to digital signals and sent to Wireless Unit
Wireless Communication Unit
  Output data generated from sensing unit should be transferred to mobile application using the wireless may be wifi/Bluetooth/internet cloud channels
Block Diagram of a ECG device
Source: Mobile-based Tele-ECG for rural health care

## Slide 21: Block Diagram
Input analog signal contains electrical output from heart with voltage range from 0 mV to 3 mV and frequency range from 0.01 Hz to 250 Hz
Output signal will contain a digital serialized data converted from analog signals.
Process can be done on ECG device , process like filtering, amplifying and digitalizing can be done and will be sent to PC or smartphone device
Further processing can be done to detect and predict from different wave signals like QRS detection requires Bandwidth of 0.5Hz to 40Hz and arrythmia is detected with 0.05 Hz to 60Hz
Source:Design_of_ECG_Homecare12-lead_ECG, IEEE

## Slide 22: Block Diagram
There are a number of available analog front end (AFE) ECG chips available in the market.
AD8232 is preferred over another chips.
HM301D is three channel, while we only need single channel ECG.
ADS1191 doesn’t provide high enough gain to get good resolution.
AD8232 has the best output impedance and gain.
This is the final flow diagram that will be used in further circuits
Source:Design_of_ECG_Homecare12-lead_ECG, IEEE

## Slide 23: HD1: Circuit Diagram
Source:courses.cs.washington.edu

## Slide 24: HD1: Circuit Diagram
Source:courses.cs.washington.edu

## Slide 25: HD1: Circuit Diagram
Source:courses.cs.washington.edu
Source:courses.cs.washington.edu

## Slide 26: HD1: Circuit Diagram
MCP6004
INA128U
1 2 3 4 5 6 7
14 13 12 11 10 9 8
1 2 3 4
8 7 6 5
R2
R1
ELECTRODE 2
ELECTRODE 1
GND
3.3v
R3
R15
R17
R14
R16
R4
R5
R11
R6
R9
R8
R10
Source:courses.cs.washington.edu

## Slide 27: HD1: Circuit Diagram
Instrumentation Amplifier
  Amplifier is a circuit that has a power gain >1
  It can either be a separate piece of equipment or an electrical circuit contained within another device.
INA128U ( Texas Instruments )
  It’s a low-power, general purpose instrumentation amplifiers offering excellent accuracy.
  The versatile 3-op amp (8pins) design and small.
Source:courses.cs.washington.edu

## Slide 28: HD1: Circuit Diagram
Ground Circuit
  3.3V as power source
  Ground as 0 V
Op-Amp
  Operational amplifier is DC-coupled high-gain electronic voltage amplifier with a differential input and, usually, a single-ended output.
  Op-amps are known for their low power and high bandwidth gain.
MCP6004
  It’s a Quad Op-amp (14-Pin) package.
  It’s a quad general purpose op amp offering rail-to-rail input and output over the 1.8 to 6V operating range.
  This amplifier has a typical gain–bandwidth product (GBWP) of 1 MHz with current only 100 microamperes.
  The MCP6004 is available in 14-lead PDIP, SOIC and TSSOP packages
Source:courses.cs.washington.edu

## Slide 29: HD1: Circuit Diagram
Band-pass filter
  It allows frequencies within a certain range and rejects (attenuates) frequencies outside that range
  Here range used is 1Hz to 40Hz signals are allowed
Notch filter
  Band-Stop filter, attenuates frequencies within a range while passing other frequencies unaltered.
  Range of frequencies is very narrow.
  Range of frequencies that is attenuated is stopband.
Source:courses.cs.washington.edu

## Slide 30: HD1: Circuit Diagram
Bypass capacitor
  It shorts AC signals to ground, so that any AC noise that may be present on a DC signal is removed, producing cleaner DC signal.
  The value of the bypass capacitor should be at least 1/10th of the resistance across the emitter resistance, RE at the lowest frequency intended to be bypassed.
Source:components101.com

## Slide 31: HD1: Cost Estimation
Teensy 3.2 ( 2200 Rs)
INA128U Op-Amp ( 1400 Rs )
Resistors, Capacitors & Wires ( 500 Rs )
NodeMCU ( 400Rs )
MCP6004 Op-Amp ( 140 Rs )
Electrode ( 100Rs )
Breadboard ( 70Rs )
==========
4810 Rs
Grove Finger-Clip Heart 4810+2359 Rs =7169 Rs (OPTIONAL)

## Slide 32: HD2: Circuit Diagram
By using AD8232 ECG system and changing positions of electrodes present we can get all 12 Leads ECG signal using 4 electrodes and simple setup.
AD8232
  It’a an integrated signal conditioning block for ECG and other biopotential measurement applications.
  It extract, amplify, and filter small biopotential signals in the presence of noisy conditions, such as those created by motion or remote electrode placement.
  This design allows for an ultralow power analog-to-digital converter (ADC) to acquire the output signal easily.
  It has two-pole high-pass filter for eliminating motion artifacts and the electrode half-cell potential.
  This filter is tightly coupled with the instrumentation architecture of the amplifier to allow both large gain and high-pass filtering in a single stage, thereby saving space and cost.
  Source:Design of ECG Homecare:12-Lead ECG Acquisition

## Slide 33: HD2: Circuit Diagram
Source:Towards IoT and ML Driven Cardiac Status Prediction System

## Slide 34: HD2:Circuit Diagram
Arduino & AD8232 ❌
Nodemcu(WiFI Module) & AD8232 ✔️
Source:tinkercad.com

## Slide 35: HD2:Cost Estimation
AD8232 ECG System ( 550 Rs )
NodeMCU ( 400Rs )
Jumper Wires & Breadboard ( 50 Rs )
=============
1000 Rs
=============
Grove Finger-Clip Heart 1000+2359 Rs =3359 Rs (OPTIONAL)

## Slide 36: Data Collection
Reference taken from
  AliveCor-AF Classification from a short single lead ECG recording: the PhysioNet/Computing in Cardiology Challenge 2017
Needed Variety
  Different Age
  Different Time
  Different Workouts
  Different Temperature
Types of data that can be collected:
  Technical Data
    Amplitude(in mV) v/s time plot
    Heart Rate
    Actual Afib, tachycardia, etc data
  Age
  Gender
  Food Habits
  Any disease
  Mental stress
Amplitude(in mV) v/s time plot
Plotted Sample data taken from physionet cardiology data

## Slide 37: Process Flow
Stage 1
Can assemble a basic circuit system
Tweaking & Correction Checks
Stage 2 (Optional)
Convert two electrodes into single electrode one pressed over skin
Styling it as watch
Stage 3
Data Collection
Stage 4
Develop a mobile application (preferably Blynk)
Stage 5
Develop ML model

## Slide 38: Resources
  Design of ECG Homecare:12-Lead ECG Acquisition using Single Channel ECG Device Developed on AD8232 Analog Front End
  Accessing the ECG Data of the Apple Watch and Accomplishing Interoperability Through FHIR (researchgate.net)
  Taking an ECG with the ECG app on Apple Watch Series 4, Series 5, or Series 6 - Apple Support (IN)
  CSE 466 Lab 7: Analog Front End for an Electrocardiograph (washington.edu)
  CSE466 lectures (washington.edu)
  True Unipolar ECG Machine for Wilson Central Terminal Measurements (researchgate.net)
  A Novel Wearable Device for Continuous Ambulatory ECG Recording: Proof of Concept and Assessment of Signal Quality (nih.gov)
  Electronics | Free Full-Text | Advances of ECG Sensors from Hardware, Software and Format Interoperability Perspectives (mdpi.com)
  Comparison of Baseline Wander Removal Techniques considering the Preservation of ST Changes in the Ischemic ECG: A Simulation Study (hindawi.com)
  Passive Detection of Atrial Fibrillation Using a Commercially Available Smartwatch | Atrial Fibrillation | JAMA Cardiology | JAMA Network
  Comparison of Baseline Wander Removal Techniques considering the Preservation of ST Changes in the Ischemic ECG: A Simulation Study (hindawi.com)

## Slide 39: Timeline
Points taken under consideration to create timeline
  Total of 4months for BTP
  15 days interval so 8 reviewal meets
Resolution
  Hardware sensors
  ML parameters
  Datasets
Results Till (Tn) 2nd AUG 2021
Basic Analysis
Results After 15 days (Tn+15) 21st AUG 2021
Research paper review for ECG smartwatches
Devices Available
Publications
Market Statistics
Deep Analysis
Study of Sensors
Results After 30 days (Tn+30) 8th Sept 2021
Hardware Analysis
Gather ECG datasheets available
Expected Results After 45 days (Tn+450) 24th Sept 2021
Hardware Setup
How to collect data?
Data Collection
Mobile Application Setup
Final Ideation

## Slide 40: Thank You!

## Slide 41: Liquid used in ECG Slight changes in ECG Actually How & Why we are getting this graph? Verification FDI approval? Theranos Technical objection? Sensor?
POINTS TO CORRECT 2nd AUG
POINTS TO CORRECT 21ST AUG
2 pages